## Slide 1
Megaseries
Storage QoS

## Slide 2: Introduction
First on Windows Server 2012 R2 in a simple implementation
You could set Minimum and Maximum IOPS on VHD/VHDX files from the VM settings or using Powershell
There was no central management or monitoring
In Windows Server 2016 we got Storage QoS Policies which permit us to manage and monitor storage performance for virtual machines with hard disks stored on Scale Out File Servers or Cluster Shared Volumes

## Slide 3: Deployment scenarios
Hyper-V server/cluster which stores virtual hard disks on a Scale Out File Server: you will need a scale out file server cluster and one or more Hyper-V servers/clusters
Hyper-V cluster which stores virtual hard disks on its Cluster Shared Volumes: You will need a Hyper-V cluster with CSV for this scenario

## Slide 4: How it works
On the file server cluster we now have the Policy Manager through which we create and manage policies
It also monitors the performance for the items on which the policy is applied
On the Hyper-V server we have a Rate Limiter which gets the policy data from the Policy Manager on the file server cluster and limits the target VHD/VHDX files IO if needed

## Slide 5: Policy types
Aggregated : With this policy type you can apply a maximum and minimum value of IOPS to multiple VHD/VHDX files and those values will be shared between them
Dedicated : With this policy type you can apply a minimum and maximum value of IOPS to multiple VHD/VHDX files and each of the files will get the values, so the IOPS will not be split between them

## Slide 6: Terms
Normalized IOPS: All storage usage is measured in normalized IOPS. By default all IO which is equal or smaller than 8KB is 1 IOPS. This value can be modified up to 4GB
Flow: Each connection from a VM to a VHD/VHDX file is called a flow

## Slide 7: https://www.youtube.com/channel/UCcZ-jLbPwNr8E_v9-65n8Iw https://github.com/itknowledge4